Safety Instructions



Before using this product, please read and understand all safety instructions. Failure to follow these instructions may result in injury or damage to the equipment.

# Power

|  |  |
| --- | --- |
| 1.1 | Only use the power supply provided with the product or one that meets the manufacturer's specifications. |
| 1.2 | Do not use damaged power cords or adapters. |
| 1.3 | Do not overload electrical outlets. |
| 1.4 | Please use standard power connectors to ensure the devices are grounded. Some devices have an additional designated grounding pin that can be used. |

# Environment

|  |  |
| --- | --- |
| 2.1 | Do not expose the product to extreme temperatures or humidity. |
| 2.2 | Do not use the product in areas with excessive dust or debris. |
| 2.3 | Do not expose the product to direct sunlight or other heat sources. |
| 2.4 | Do not use the product near water or in wet conditions. |
| 2.5 | This equipment is not suitable for use in locations where children are likely to be present. |
| 2.6 | This equipment is intended only for use in a restricted access area. |

# Maintenance

|  |  |
| --- | --- |
| 3.1 | Do not attempt to repair the product yourself. Contact a QM's service technician. |
| 3.2 | Do not remove any covers or panels from the product. This may expose you to dangerous voltage or other hazards. |
| 3.3 | This device has a class 1 laser component (SFPs optical transceivers). Invisible laser radiation might be emitted from the unterminated connector of a fiber-optic cable. To avoid injury to your eye, do not view the fiber optics with a magnifying optical device. Contact a QM's service technician. |
| 3.4 | Disconnect power before servicing, (Only by QM's technician) |

# Use

|  |  |
| --- | --- |
| 4.1 | Only use SFPs that are safety approved to IEC 60825 and which are CDRH registered. |
| 4.2 | Do not use the product for any purpose other than its intended use. |
| 4.3 | Do not insert foreign objects into the product. |
| 4.4 | Do not use the product if it appears to be damaged or not working properly. |
| 4.5 | Follow all operating instructions provided with the product. |

# Warning Symbols

|  |  |
| --- | --- |
| 5.1 | Pay attention to any warning symbols or labels on the product or in the user manual. |
| 5.2 | Do not ignore warning symbols or labels. |

By following these safety instructions, you can help ensure the safe and proper use of this product. If you have any questions or concerns about the safety of this product, please contact QM's.